## Data Dictionary
This data dictionary is to assist you in filling out/interpreting the fields of the OTN Equipment Testing Checklist. It need not be submitted with your data.
Purpose: The OTN equipment testing checklist is intended to be used upon receipt of equipment or prior to initial deployment. Its objective is to confirm that equipment sent by the manufacturer to OTN headquarters and/or OTN partners is functioning properly. In-air and in-water tests should be carried out if deemed necessary to be assured of basic functionality. Any faulty equipment should be red-flagged with an appropriate comment and sent back to the manufacturer or OTN headquarters. This sheet should be used for all receivers, releases, deckboxes, and tags purchased by OTN.
Field Name | Units/format example | Definition
TEST_DATE | as in: 2008-07-23; format: yyyy-mm-dd | Date on which the test was conducted, in UTC.
TEST_LOCATION | as in: Halifax; format: free text, not otherwise specified | Location where the test was conducted.
PERSON_IN_CHARGE | as in: Bates D; format: last name first initial | Name of the person in charge of conducting the test.
TELEPHONE | as in: 902-494-2357; format: numeric | Telephone number where the person in charge can be reached.
EMAIL | as in: D.Bates@Dal.Ca; format: free text, must contain the ampersand | Email address at which the person in charge can be reached.
EQUIPMENT_TYPE | as in: receiver; options are: receiver, release, tag, deckbox | Type of equipment being tested: receiver, release, tag, deckbox
MANUFACTURER | as in: Teledyne-Benthos; format: free text, not otherwise specified | Manufacturer of the equipment
MODEL_NUMBER | as in: VR2W; format: free text, not otherwise specified | Model number of the equipment as provided by the manufacturer.
SERIAL_NUMBER | as in: 104514; format: free text, not otherwise specified | Serial number of the equipment as provided by the manufacturer.
BATTERY_CHECK | as in: ok; options are: ok, not ok, not done | Check for appropriate battery voltage. If the instrument is intended for extended deployment, the battery should be new and fully charged, otherwise this should be noted in the comments.
IN_AIR_FUNCTION_TEST | as in: ok; options are: ok, not ok, not done | Equipment function should be tested in air prior to deployment; any issues should be noted in the comments section.
IN_WATER_FUNCTION_TEST | as in: ok; options are: ok, not ok, not done | If possible, test function in water and assess watertightness; any issues should be noted in the comments section.
DISINFECTION | as in: yes; options are: yes, not done | Refer to SOP # 207.
TESTING_COMMENTS | as in: receiver returned for repair; format: free text, not otherwise specified | Comment on any issues, repairs needed, and/or repairs performed.

## Equipment Testing Checklist
| EQUIPMENT |  | PLEASE SUBMIT ALL DATA VIA EMAIL TO THE OTN DATA CENTRE: otndc@Dal.Ca
TESTING CHECKLIST
| version 3.1 |  |  | TEST_DATE |  | TEST_LOCATION
| PERSON_IN_CHARGE |  |  | TELEPHONE |  | EMAIL
EQUIPMENT_TYPE | MANUFACTURER | MODEL_NUMBER | SERIAL_NUMBER | BATTERY_CHECK | IN_AIR_FUNCTION_TEST | IN_WATER_FUNCTION_TEST | DISINFECTION | TESTING_COMMENTS

## flat_file_format
TEST_DATE | TEST_LOCATION | PERSON_IN_CHARGE | TELEPHONE | EMAIL | EQUIPMENT_TYPE | MANUFACTURER | MODEL_NUMBER | SERIAL_NUMBER | BATTERY_CHECK | IN_AIR_FUNCTION_TEST | IN_WATER_FUNCTION_TEST | DISINFECTION | TESTING_COMMENTS
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0