Receiver Diagnostic / Sensor Data

| Variable | VR3-UWM | VMT | VR2W | VR2Tx | VR2AR | VR4-UWM | VR2C | HR2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Temperature Samples (configurable interval) | - | - | - |  (every 10 minutes to 24 hours, or not at all) |  (every 10 minutes to 24 hours, or not at all) |  (every 1 to 14 days) |  (every 10 minutes to 60 hours, or not at all) |  (every 1 minute to 24 hours) |
| Temperature Stats: Min, Max Average (configurable interval) | - | - | - |  (every 10 minutes to 24 hours, or not at all) |  (every 10 minutes to 24 hours, or not at all) | - | - | - |
| Ambient Noise Samples (configurable interval) | - | - | - |  (every 10 minutes to 24 hours, or not at all) |  (every 10 minutes to 24 hours, or not at all) | - | - |  (every 1 minute to 24 hours) |
| Ambient Noise Stats: Min, Max Average (configurable interval) | - | - | - |  (every 10 minutes to 24 hours, or not at all) |  (every 10 minutes to 24 hours, or not at all) | - | - | - |
| Tilt Samples (configurable interval) | - | - | - |  (every 10 minutes to 24 hours, or not at all) |  (every 10 minutes to 24 hours, or not at all) |  (every 1 to 14 days) |  (every 10 minutes to 60 hours, or not at all) |  (every 1 minute to 24 hours) |
| Tilt Stats: Min, Max, Average | - | - | - | - | - | - | - | - |
| Depth Samples (configurable interval) | - | - | - | - |  (every 10 minutes to 24 hours, or not at all) | - | - | - |
| Depth Stats: Min, Max, Average (configurable interval) | - | - | - | - |  (every 10 minutes to 24 hours, or not at all) | - | - | - |
| Detection Noise | - | - | - | - | - | - | - |  |
| Detection Signal Strength | - | - | - | - | - | - | - |  |
| Detection Quality Score | - | - | - | - | - | - | - |  |
| Ping Counts (not configurable) |  (end of study) |  (end of study) |  (daily) |  (daily) |  (daily) | - |  (daily) |  (hourly) |
| Detection Counts (not configurable) |  (end of study) |  (end of study) |  (daily) |  (daily) |  (daily) | - |  (daily) |  (hourly) |
| Ping Counts (configurable interval) | - | - | - | - | - |  (every 1 to 14 days) | - | - |
| Detection Counts (configurable interval) | - | - | - | - | - |  (every 1 to 14 days) | - | - |

If you have questions about any of this, please don’t hesitate to ask.

Cheers,

Stephanie